## Tabelle2
Worldwide certification list (2016-07) | [31 empty] | In work
|  |  |  | Remark | Size / Remark |  |  |  | US |  | CA |  |  |  | US | [12 empty] | (ElektroStoffV) | WEEE | China RoHS | Free of: LABS PWIS *32
1. Gas Filters
AKT |  |  |  | Manual valves | DN6-250 |  | X*17 |  |  | DN10-50*8 |  |  | --- |  |  | DN10-50*8 |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
TAS |  |  |  | Thermal equipment trips | DN6-250 |  | X*17 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
GFK |  |  |  | Gas filter | DN15-250 |  | X*17 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes *30
2. Pressure regulators
J78R |  |  |  | Pressure regulator for gas | DN15 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | --- | Yes *22 | --- | n.a. | ---
60DJ |  |  |  | Pressure regulator for gas | DN8 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | --- | Yes *22 | --- | n.a. | ---
GDJ |  |  |  | Pressure regulator for gas | DN15-50 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
VGBF |  |  |  | Pressure regulator for gas | DN15-150 | X*10; X*17 |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
JSAV |  |  |  | Safety shutt-off valves | DN25-100 | X*10; X*17 |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | X *21
VSBV |  |  |  | Safet relief valve | DN25 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
VAR |  |  |  | Circulation pressure control | DN25-100 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
GIK, GIK..B |  |  |  | Air/Gas Ratio control | DN15-150 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
GIKH |  |  |  | Variable air/gas ratio control | DN25 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
J78R 1-L |  |  |  | Pressure regulator for air | DN15 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Not applicable: Jeavons |  |  | n.a. | ---
60DJ L |  |  |  | Pressure regulator for air | DN8 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Not applicable: Jeavons |  |  | n.a. | ---
GDJ L |  |  |  | Pressure regulator for air | DN15-50 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
VGBF V |  |  |  | Gas pressure regulator "Viton Version" | DN40-150 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
GIK..L, GIKB..L |  |  |  | Ratio control for air | DN15-150 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
3. Valves | [5 empty] | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
VAS 1 … 3 |  |  |  | Solenoid gas valve | 1-3 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VAS 6 … 9 |  |  |  | Solenoid gas valve | 6-9 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*9 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 |  | Yes
VCS 1 … 3 |  |  |  | Double solenoid gas valve | 1-3 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VCS 6 … 9 |  |  |  | Double solenoid gas valve | 6-9 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*9 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 |  | Yes
VAD 1 … 3 |  |  |  | ValVario-D-Regulator | 1-3 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VAG 1 … 3 |  |  |  | ValVario-G-Regulator | 1-3 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VAH 1 … 3 |  |  |  | ValVario-H-Regulator | 1-3 | X*19 | X*12 | X*12 | --- | --- | --- | X | X | X | --- | --- | --- | X | X | X | --- | --- | --- | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VRH 1 ... 3 |  |  |  | ValVario-H-Regulator w/o ssov | 1-3 | X*20 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | Yes (10)
VAV 1 … 3 |  |  |  | ValVario-V-Regulator | 1-3 | X*19 | X*12 | X*12 | --- | --- | --- | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VBY |  |  |  | Bypass valve | DN8 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 |  | ---
VMV |  |  |  | ValVario fine adjusting valve | DN10-50 |  | X*20 |  | --- |  |  | --- |  |  | --- |  |  |  | X |  | --- |  |  | --- |  |  | Yes | Yes *22 | Yes *23 |  | ---
VMO |  |  |  | ValVario orifice | DN10-50 |  | X*20 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | Yes | Yes *22 | Yes *23 |  | ---
VMF |  |  |  | ValVario filter | DN10-50 | X*20 |  |  | --- |  |  | --- |  |  | --- |  |  |  | X |  | --- |  |  | --- |  |  | Yes | Yes *22 | Yes *23 |  | ---
VGP |  |  |  | Solenoid gas valve | DN10-25 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 |  | Yes
VG small |  |  |  | Solenoid gas valve | DN6-15/10 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 |  | Yes
VG .. / VG |  |  |  | Solenoid gas valve | DN10/15-65 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 |  | Yes
VAN |  |  |  | Solenoid normally open valve | 1-2 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 |  | ---
VK |  |  |  | Motorized gas valve | DN40-250 | --- | 110V | 220V | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 110V | 220V | -- | 110V | 220V | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
[7 empty] | X*14 | X*14
TC 1 |  |  |  | Tightness Control | --- | X*19 | X*12 | X*12 | --- | --- | --- | --- | X | X | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 |  | ---
TC 2 |  |  |  | Tightness Control | All | X*19 | X*12 | X*12 | -- | -- | -- | -- | X | X | -- | X | -- | X | X | X | -- | -- | -- | -- | -- | -- | Yes | Yes *22 | Yes *23 |  | ---
TC 3 |  |  |  | Tightness Control | All | X*19 | X*12 | X*12 | -- | -- | -- | -- | X | X | -- | -- | -- | X | X | X | -- | -- | -- | -- | -- | -- | Yes | Yes *22 | Yes *23 |  | ---
TC 410 |  |  |  | Tightness Control | All | X*19 | X*12 | X*12 | -- | -- | -- | X | X | X | -- | X | -- | X | X | X | -- | -- | -- | -- | -- | -- | Yes | Yes *22 | Yes *23 |  | Yes
BVG, BVGF |  |  |  | Butterfly valve for gas | DN40-150 |  | X*20 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 |  | Yes
BVA, BVAF |  |  |  | Butterfly valve for air | DN40-150 |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 |  | Yes
BVH, BVHS, BVHR |  |  |  | Butterfly valve for hot air | DN40-100 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | ---
IC20 |  |  |  | Actuator | --- | --- | X*13 | X*13 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
IC30 |  |  |  | Actuator |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
IC40 |  |  |  | Actuator | --- | --- | X*13 | X*13 | --- | X | X | --- | --- | --- | --- | --- | --- | X | X | X | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
IC50 |  |  |  | Actuator |  | X(AC)*13 | X*13 | X*13 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
BVHM+MB7 |  |  |  | Butterfly valve with solenoid actuator | DN40-100 | --- | --- | --- | --- | --- | --- | X | X | X | --- | --- | --- | X | X | X | --- | --- | --- | --- | --- | --- |  |  |  | Yes (10) | ---
DKR |  |  |  | Butterfly valve for hot air | DN15-500 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |  | X |  | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 |  | ---
VFC |  |  |  | Flow control | 1 - 3 | X |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  |  | Yes | Yes *22 | Yes *23 |  | ---
DKG / DKL |  |  |  | Butterfly valve for hot air and flue gas | DN15-250 | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | Not applicable: To be discontinued |  |  |  | ---
GT |  |  |  | Actuator | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | --- | --- | --- | --- | --- | --- |  |  |  |  | ---
VR |  |  |  | Solenoid valves for air | DN25-65 | X*19 | X*13 | X*13 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 |  | ---
4. Pressure Switches | [5 empty] | 24Vdc | 120Vac | 250Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 250Vac | 24Vdc | 120Vac | 250Vac | 24Vdc | 120Vac | 250Vac
DG..U,B,I,H,N |  |  |  | Pressure switches for gas | not all AGA | X*15 | X*15 | X*15 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | YES (10) | Yes
DG..T,NT,HT |  |  |  | Pressure switches for gas | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DG..C,VC |  |  |  | Pressure switches for gas | not all AGA | X*15 | X*15 | X*15 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DG..CT,VCT |  |  |  | Pressure switches for gas | --- | --- | --- | --- | --- | --- | --- | X | X | X | UL/RU | UL/RU | UL/RU | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DL..A,K,E |  |  |  | Pressure switches for air | not all AGA | X*15 | X*15 | X*15 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DL..ET |  |  |  | Pressure switches for air | --- | --- | --- | --- | --- | --- | --- | X | X | X | RU | RU | RU | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DL..AT,KT |  |  |  | Pressure switches for air | not all AGA | X*15 | X*15 | X*15 | --- | --- | --- | X | X | X | X | X | X | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DG..S |  |  |  | Pressure switches for oxygen | O2 + NH3 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
CPS |  |  |  | Pressure switches for air | [22 empty] | Yes | Yes *22 | Yes *23 | Yes (10) | ---
5. Combination-Controls & Moduline | [5 empty] | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
CG 10 |  |  |  | Combination controls | DN10 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
CES 10 |  |  |  | Combination controls | DN 15 | X*19/31 | X*12/31 | X*12/31 | X*31 | X*31 | X*31 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
CES 25 |  |  |  | Combination controls | DN 25 | X*19/31 | X*12/31 | X*12/31 | X*31 | X*31 | X*31 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
CG 1 - 3 |  |  |  | Combination controls | 1-3 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
CG 15 - 30 |  |  |  | Combination controls | 15/20-25/30 | X(ac)*19 | --- | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VCL / LCU |  |  |  | Labatory-Safety System | [22 empty] | Gastechnik Kirchner |  |  | Yes (10) | ---
RVS, RV |  |  |  | Control valves | DN32-100 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- |  |  |  | Yes (10) | ---
6. Electric Flame Monitoring and Control Units | [5 empty] | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
FCU 500 (OCU/BCM/BCC)*2 |  |  |  | Protective system control units |  | NA | X*12 | X*12 | NA | x | x | NA | x | x | NA | P | --- | NA | x | x | NA | --- | --- | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
IFS 110IM, 111 IM |  |  |  | Automatic burner control units |  | NA | ---*31 | ---*31 | NA | --- | --- | NA | x | x | NA | --- | --- | NA | x*5 | x*5 | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
IFS 132B-137B |  |  |  | Automatic burner control units | [22 empty] | Yes | Yes *22 | Yes *23 | Yes (10) | ---
IFW 15 |  |  |  | Flame detector |  | NA | X*12 | X*12 | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | x | x | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
IFW 50 |  |  |  | Flame detector | [22 empty] | Yes | Yes *22 | Yes *23 | Yes (10) | ---
IFD 244 / 258 |  |  |  | Automatic burner control units |  | NA | X*12 | X*12 | NA | x | x | NA | x | x | NA | --- | --- | NA | x | x | NA | x | x | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
IFD 450 / 454 |  |  |  | Automatic burner control units |  | NA | ---*31 | ---*31 | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | x | x | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
BCU 400 |  |  |  | Burner control unit |  | NA | X*12 | X*12 | NA | x*4 | x*4 | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | NA | x | x | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
BCU 560 / 565 /580 |  |  |  | Burner control unit |  | NA | X*12 | X*12 | NA | x*4 | x*4 | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | NA | x | x | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
PFU 760 / 780 |  |  |  | Burner control unit |  | NA | X*12 | X*12 | NA | --- | --- | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | NA | x | x | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
PFF 704 |  |  |  | Flame detector |  | NA | ---*31 | ---*31 | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | x | x | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
PFR 704 |  |  |  | Relay module |  | --- | ---*31 | ---*31 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
PFP 700 |  |  |  | Power supply |  | NA | ---*31 | ---*31 | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
PFA 700 / 710 |  |  |  | Fieldbus interface |  | NA | X*7 | X*7 | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
MPT 700 |  |  |  | Impulse system |  | NA | ---*31 | ---*31 | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | x | x | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
BCU 370 (OCU/BCM/BCC)*2 |  |  |  | Burner control unit |  | NA | X*12 | X*12 | NA | x | x | NA | x | x | NA | UL | --- | NA | x | x | NA | x | x | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
BCU 570 (OCU/BCM/BCC)*2 |  |  |  | Burner control unit |  | NA | X*12 | X*12 | NA | x | x | NA | x | x | NA | RU | --- | NA | x | x | NA | x | x | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
Rectifier boards -VG, VAS, MB 7 |  |  |  | PCB for solenoid valves | [22 empty] | Yes | Yes *22 | Yes *23 | Yes (10) | ---
7. Burners | [30 empty] | ---
ZAI, ZMI (C), ZKIH |  |  |  | Pilot burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes |  |  |  | ---
ZIO 40 |  |  |  | Pilot burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes |  |  |  | ---
ZT, ZTA, ZTI |  |  |  | Pilot burner | All | [21 empty] | Yes |  |  |  | ---
BIO, BIOA, ZIO |  |  |  | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes |  |  |  | ---
BIOW, ZIOW |  |  |  | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes*29 |  |  |  | ---
BIC, BICA, ZIC |  |  |  | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes |  |  |  | ---
BICW, ZICW |  |  |  | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes*29 |  |  |  | ---
BIC…M |  |  |  | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Yes |  |  |  | ---
BIC…R |  |  |  | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Yes |  |  |  | ---
BIC...L |  |  |  | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes |  |  |  | ---
BICR |  |  |  | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes |  |  |  | ---
CT… |  |  |  | Keram. Flachflammenbrenner | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Yes*29 |  |  |  | ---
GLG, GLA, GLH |  |  |  | Haubenbrenner | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Yes |  |  |  | ---
ECOMAX |  |  |  | Self recuperative burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes*29 |  |  |  | ---
TSC |  |  |  | Ceramic tube sets | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | ---
RSG |  |  |  | (Accessory) | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | ---
FPT |  |  |  | (Accessory) | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- | [5 empty] | ---
EGH |  |  |  | (Accessory) | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- | [5 empty] | ---
SICAFLEX |  |  |  | Segmentflammrohre (Zubehör) | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- | [5 empty] | ---
SER-C |  |  |  | Single ended radiant tube burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- | [5 empty] | ---
RFG |  |  |  | Radiant tube gas burners | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Not applicable: Hauck |  |  |  | ---
RAD |  |  |  | Plug-In-Reku | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Not applicable: Hauck |  |  |  | ---
BBG |  |  |  | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Not applicable: Hauck |  |  |  | ---
ref. tiles BBG |  |  |  | Accessory | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Not applicable: Hauck |  |  |  | ---
alloy tiles BBG |  |  |  | Accessory | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Not applicable: Hauck |  |  |  | ---
TriOx |  |  |  | Ultra Low Nox Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | --- |  |  | --- |  | Not applicable: Hauck |  |  |  | ---
8 Ignition and Monitoring Components | [5 empty] | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
TZI, TGI |  |  |  | Ignition transformer |  | NA | --- | --- | NA | x*6 | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | Yes | Yes*24 | Yes*23 | Yes (10) | Yes
UVS *2 |  |  |  | Sensor |  | NA | x*12 | x*12 | NA | x | x | NA | x | x | NA | x | x | NA | x | x | NA | x | x | NA | --- | --- | Yes | Yes*22 | Yes*23 | Yes (10) | ---
FE, FZE |  |  |  | Ignition and sensing electrode | [26 empty] | ---
UVD |  |  |  | Sensor for continuous operation |  | x *1 | NA | NA | --- | NA | NA | --- | NA | NA | --- | NA | NA | x | NA | NA | x*3 | NA | NA | x*31 | NA | NA | Yes | Yes*22 | Yes*23 | Yes (10) | ---
9. Thermoelectric devices
S11T |  |  |  | Control valve |  |  | x*12 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | ---
10. Comfort Controls (Hameln)
Cabel sensing element |  |  |  | Fühler | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
Outside sensing element |  |  |  | Fühler | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
E24 / E25 / Kx |  |  |  | Heizungsregelung | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
BM8 |  |  |  | Bedienmodul | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
Como |  |  |  | Uhrenthermostat | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
FBR… |  |  |  | Analoge Fernbedienung | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
Elfatherm E8… |  |  |  | Heizungsregler | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | X*25 |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
Lago… |  |  |  | Heizungsregler | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | X*26 |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
Merlin… |  |  |  | Bedienmodul / Systemmanager | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | X*27 |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
Relay box |  |  |  | Relaisbox | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
CoCo… |  |  |  | Kommunikations-Gerät | Elster |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
11. Accessories
KFM |  |  |  | Pressure gauges | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 |  | Yes
FLS |  |  |  | Mesblendenset | [22 empty] | Not applicable: To be discontinued |  |  |  | ---
RFM |  |  |  | Manometer | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 |  | Yes
GEHV |  |  |  | Flow adjusting cocks | DN40-50 |  | X*11 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 |  | ---
GEH |  |  |  | Flow adjusting cocks | DN32-50 |  | X*11 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 |  | ---
LEH |  |  |  | Flow adjusting cocks | DN25-50 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 |  | ---
VMO… |  |  |  | Blendeneinsatz | DN10-50 |  | X*20 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | Yes
DU |  |  |  | Durchflussmengenzähler | [22 empty] | Not applicable: To be discontinued |  |  |  | ---
SGT |  |  |  | Th. Auslös. Absperventil | [22 empty] | Not applicable: To be discontinued |  |  |  | ---
AS |  |  |  | Abblasesichtgreät | [22 empty] | Not applicable: To be discontinued |  |  |  | ---
DMG |  |  |  | Electronic pressure gauge | [22 empty] | Yes | Yes | Yes |  | Yes
DGM / DWR |  |  |  | Gas-Druckwächter | [22 empty] | Not applicable: Trading goods |  |  |  | ---
Testo 350 / 360 |  |  |  | Rauchgas Analysegerät | [22 empty] | Not applicable: To be discontinued |  |  |  | ---
EKO |  |  |  | Stainless steel bellows units | DN32-200 |  | X*11 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 |  | ---
ES |  |  |  | Stainless steel flexible tubes | DN32-100 |  | X*11 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 |  | ---
GRS, GRSF |  |  |  | Non-return gas valves | DN15-80 |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  | Yes | Yes*22 | Yes*23 |  | ---
PR / ZU |  |  |  | Durchflussmengenzähler | [22 empty] | Yes | Yes*22 | Yes*23 |  | ---
DM, DE |  |  |  | Flow meters | DN25-150 |  | X*16 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | [5 empty] | Yes
X | Existing certification | *1 | No type approval
--- | No certification | *2 | No single certification, certification only valid in combination with the burner control unit
NA | Not available | *3 | only UVD 1
P | Certification pending | *4 | only 1 start up
US | USA | *5 | only IFS110
CA | Canada | *6 | only TZI 7,5-20/33R
UL | UL Listed | *7 | No external certification
RU | UL Recognized | *8 | NPT threaded versions
i.A. | In process | *9 | Ansi flanged versions
n.a. | Not applicable | *10 | only Rp threaded and Din flanged versions
|  | *11 | PED Certifcation (Pressure Equipment Directive)
|  | *12 | GAD (Gas appliance directive); LVD (Low voltage directive); EMC (Electromagnetic compatibility)
|  | *13 | LVD (Low voltage directive); EMC (Electromagnetic compatibility)
|  | *14 | GAD (Gas appliance directive); LVD (Low voltage directive); EMC (Electromagnetic compatibility); Atex directive; PED (Pressure equipment directive)
|  | *15 | GAD (Gas appliance directive); LVD (Low voltage directive)
|  | *16 | PED Certifcation (Pressure Equipment Directive); Atex directive
|  | *17 | GAD (Gas appliance directive); PED (Pressure Equipment Directive)
|  | *19 | GAD (Gas appliance directive); EMC (Electromagnetic compatibility)
|  | *20 | GAD (Gas appliance directive)
|  | *21 | In process
|  | *22 | Unterliegt nicht den RoHS 2 Anforderungen (ElektroStoffV), aber die Stoffbeschränkungen werden eingehalten.
Not subject to the RoHS II requirements (ElektroStoffV), but the substance restrictions are adhered to.
|  | *23 | Unterliegt nicht der WEEE Richtlinie (ElektroG), aber die Stoffbeschränkungen werden eingehalten.
Not subject to the WEEE Directive (ElektroG), but the substance restrictions are adhered to.
|  | *24 | Solder tin is not Lead free RoHS Compliant (expemption RoHS anex III 7a)
|  | *25 | Only .0234, .0324, .0634, .1124, .4401, .5064, until 25.11.2019
|  | *26 | Only .basic 0101/1001, .basic 0201, .basic SD1, .0201, .0321, .SG2, .SG3, until 25.11.2019
|  | *27 | Only .5064, .IO 5064, until 25.11.2019
|  | *28 | Confotmity (RoHS/ WEEE) is not finial clarified.
|  | *29 | Contains materials of the REACH list (all customers are informed).
|  | *30 | Contains slight amounts of silicone <0,1%
|  | *31 | Instead of 24VDC - 20VDC; 120VAC -106VDC; 230VAC-206VDC
|  | *32 | LABS (Lackbenetzungsstörende Substanzen); PWIS (Paint-Wetting Impairment Substances)