## 2018 Version
Worldwide Certification List Edition 2018.05
| Remark | Size / Remark |  |  |  | US |  | CA |  |  |  | US | [12 empty] | (ElektroStoffV) | WEEE | China RoHS | Free of: LABS PWIS *32
1. Gas Filters & Ball Valves
AKT | Manual valves | DN6-250 |  | X*17 |  |  | DN10-50*8 |  |  | --- |  |  | DN10-50*8 |  | X |  |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
TAS | Thermal equipment trips | DN6-250 |  | X*17 |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | --- |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
GFK | Gas filter | DN15-250 |  | X*17 |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes *30
2. Pressure Regulators
J78R | Pressure regulator for gas | DN15 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | --- | Yes *22 | --- | n.a. | ---
60DJ | Pressure regulator for gas | DN8 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | --- | Yes *22 | --- | n.a. | ---
GDJ | Pressure regulator for gas | DN15-50 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
VGBF | Pressure regulator for gas | DN15-150 | X*10; X*20; X*17 |  |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
JSAV | Safety shutt-off valves | DN25-100 | X*10; X*20; X*17 |  |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | X *21
VSBV | Safet relief valve | DN25 | X*10; X*20; X*17 |  |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
VAR | Circulation pressure control | DN25-100 |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
GIK, GIK..B | Air/Gas Ratio control | DN15-150 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
GIKH | Variable air/gas ratio control | DN25 | X*10; X*20 |  |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
J78R 1-L | Pressure regulator for air | DN15 |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Not applicable: Jeavons |  |  | n.a. | ---
60DJ L | Pressure regulator for air | DN8 |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Not applicable: Jeavons |  |  | n.a. | ---
GDJ L | Pressure regulator for air | DN15-50 |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
VGBF V | Gas pressure regulator "Viton Version" | DN40-150 |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | Yes
GIK..L, GIKB..L | Ratio control for air | DN15-150 |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | n.a. | ---
3. Valves & Butterfly valves |  |  | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
VAS 1 … 3 | Solenoid gas valve | 1-3 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VAS 6 … 9 | Solenoid gas valve | 6-9 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*9 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VCS 1 … 3 | Double solenoid gas valve | 1-3 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VCS 6 … 9 | Double solenoid gas valve | 6-9 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*9 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VAD 1 … 3 | ValVario-D-Regulator | 1-3 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VAG 1 … 3 | ValVario-G-Regulator | 1-3 | X*19 | X*12 | X*12 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VAH 1 … 3 | ValVario-H-Regulator | 1-3 | X*19 | X*12 | X*12 | --- | --- | --- | X | X | X | --- | --- | --- | X | X | X | --- | --- | --- | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VRH 1 ... 3 | ValVario-H-Regulator w/o ssov | 1-3 | X*20 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VAV 1 … 3 | ValVario-V-Regulator | 1-3 | X*19 | X*12 | X*12 | --- | --- | --- | X | X | X | --- | X*8 | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VBY | Bypass valve | DN8 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VMV | ValVario fine adjusting valve | DN10-50 |  | X*20 |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | NA |  |  | --- |  |  | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VMO | ValVario orifice | DN10-50 |  | X*20 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  |  | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VMF | ValVario filter | DN10-50 | X*20 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | NA |  |  | --- |  |  | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VGP | Solenoid gas valve | DN10-25 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VG small | Solenoid gas valve | DN6-15/10 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VG | Solenoid gas valve | DN10/15-65 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VAN | Solenoid normally open valve | 1-2 | X*19 | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
VK | Motorized gas valve | DN40-250 | --- | 110V X*14 | 220V X*14 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 110V | 220V | -- | 110V | 220V | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
TC 1 | Tightness Control | --- | X*34 | X*34 | X*34 | -- | -- | -- | -- | -- | -- | -- | -- | -- | X | X | X | -- | -- | -- | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
TC 2 | Tightness Control | --- | X*34 | X*34 | X*34 | -- | -- | -- | -- | -- | -- | -- | -- | -- | X | X | X | -- | -- | -- | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
TC 3 | Tightness Control | --- | X*34 | X*34 | X*34 | -- | -- | -- | -- | -- | -- | -- | -- | -- | X | X | X | -- | -- | -- | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | ---
TC 410 | Tightness Control | All | --- | --- | --- | -- | -- | -- | X | X | X | -- | X | -- | X | X | X | -- | -- | -- | -- | -- | -- | Yes | Yes *22 | Yes *23 | --- | Yes
BVG, BVGF | Butterfly valve for gas | DN40-150 |  | X*20 |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | --- | Yes
BVA, BVAF | Butterfly valve for air | DN40-150 |  | X |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | --- | Yes
BVH, BVHS, BVHR | Butterfly valve for hot air | DN40-100 |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | --- | Yes
IC20 | Actuator | --- | --- | X*13 | X*13 | --- | X | --- | --- | --- | --- | --- | --- | --- | --- | X | X | NA | NA | NA | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
IC30 | Actuator | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | NA | NA | NA | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
IC40 | Actuator | --- | --- | X*13 | X*13 | --- | X | X | --- | --- | --- | --- | X | --- | --- | X | X | NA | NA | NA | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
IC50 | Actuator | --- | X(AC)*13 | X*13 | X*13 | --- | X | --- | --- | --- | --- | --- | --- | --- | X(AC) | X | X | NA | NA | NA | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
BVHM+MB7 | Butterfly valve with solenoid actuator | DN40-100 | --- | --- | --- | --- | --- | --- | --- | --- | -- | --- | --- | --- | X | X | X | NA | NA | NA | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
DKR | Butterfly valve for hot air | DN15-500 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X |  |  | NA | NA | NA | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
VFC | Flow control | 1 - 3 | X |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | NA |  |  | --- |  |  | Yes | Yes *22 | Yes *23 | --- | ---
DKG / DKL | Butterfly valve for hot air and flue gas | DN15-250 | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  |  | Not applicable: To be discontinued |  |  | Yes (10) | ---
VR | Solenoid valves for air | DN25-65 | X*19 | X*13 | X*13 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | --- | NA | NA | NA | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
4. Pressure Switches |  |  | 24Vdc | 120Vac | 250Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 250Vac | 24Vdc | 120Vac | 250Vac | 24Vdc | 120Vac | 250Vac
DG..U,B,I,H,N | Pressure switches for gas | not all AGA | X*15 | X*15 | X*15 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | YES (10) | Yes
DG..T,NT,HT | Pressure switches for gas | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DG..C,VC | Pressure switches for gas | not all AGA | X*15 | X*15 | X*15 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | X | X | X | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DG..CT,VCT | Pressure switches for gas | --- | --- | --- | --- | --- | --- | --- | X | X | X | UL/RU | UL/RU | UL/RU | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DL..A,K,E | Pressure switches for air | not all AGA | X*15 | X*15 | X*15 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DL..ET | Pressure switches for air | --- | --- | --- | --- | --- | --- | --- | X | X | X | RU | RU | RU | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DL..AT,KT | Pressure switches for air | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | Yes
DG..S | Pressure switches for oxygen | O2 + NH3 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
CPS | Pressure switches for air |  | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
5. Moduline |  |  | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
RVS, RV | Control valves | DN32-100 | --- | X*12 | X*12 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
6. Electric Flame Monitoring & Contr. Units |  |  | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
FCU 500 (OCU/BCM/BCC)*2 | Protective system control units | --- | NA | x*34 | x*34 | NA | x | x | NA | x | x | NA | P | --- | NA | x | x | NA | --- | --- | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
BCU 400 | Burner control unit | --- | NA | X*34 | X*34 | NA | x*4 | x*4 | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | NA | x | x | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
BCU 560 / 565 /580 | Burner control unit | --- | NA | X*34 | X*34 | NA | x*4 | x*4 | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | NA | x | x | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
PFU 760 / 780 | Burner control unit | --- | NA | X*34 | X*34 | NA | --- | --- | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | NA | x | x | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
PFR 704 | Relay module | --- | --- | ---*31 | ---*31 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
PFP 700 | Power supply | --- | NA | ---*31 | ---*31 | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
PFA 700 / 710 | Fieldbus interface | --- | NA | X*7 | X*7 | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
MPT 700 | Impulse system | --- | NA | ---*31 | ---*31 | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | x | x | NA | --- | --- | NA | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
BCU 370 (OCU/BCM/BCC)*2 | Burner control unit | --- | NA | X*34 | X*34 | NA | x | x | NA | x | x | NA | UL | --- | NA | x | x | NA | x | x | --- | --- | --- | Yes | Yes *22 | Yes *23 | Yes (10) | ---
BCU 570 (OCU/BCM/BCC)*2 | Burner control unit | --- | NA | X*34 | X*34 | NA | x | x | NA | x | x | NA | RU | --- | NA | x | x | NA | x | x | NA | x | x | Yes | Yes *22 | Yes *23 | Yes (10) | ---
7. Burners | [27 empty] | ---
ZAI, ZMI (C), ZKIH | Pilot burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (10) | ---
ZIO 40 | Pilot burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (10) | ---
ZT, ZTA, ZTI | Pilot burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (10) | ---
BIO, BIOA, ZIO | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (20) | ---
BIOW, ZIOW | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes*29 | Yes *22 | Yes *23 | Yes (20) | ---
BIC, BICA, ZIC | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (20) | ---
BICW, ZICW | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes*29 | Yes *22 | Yes *23 | Yes (20) | ---
BIC…M | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (20) | ---
BIC…R | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (20) | ---
BIC...L | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (20) | ---
BICR | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (20) | ---
CT… | Keram. Flachflammenbrenner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes*29 | Yes *22 | Yes *23 | Yes (20) | ---
GLG, GLA, GLH | Haubenbrenner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | Yes (20) | ---
ECOMAX | Self recuperative burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | X |  |  |  | NA |  |  | --- |  | Yes*29 | Yes *22 | Yes *23 | Yes (20) | ---
TSC | Ceramic tube sets | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | --- | --- | --- | --- | ---
RSG | (Accessory) | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | --- | --- | --- | --- | ---
FPT | (Accessory) | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | --- | --- | --- | --- | ---
EGH | (Accessory) | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | Yes*29 | --- | --- | --- | ---
SICAFLEX | Segmentflammrohre (Zubehör) | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | --- | --- | --- | --- | ---
SER-C | Single ended radiant tube burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | --- | --- | --- | --- | ---
RFG | Radiant tube gas burners | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | Not applicable: Hauck |  |  | --- | ---
RAD | Plug-In-Reku | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | Not applicable: Hauck |  |  | --- | ---
BBG | Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | Not applicable: Hauck |  |  | --- | ---
ref. tiles BBG | Accessory | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | Not applicable: Hauck |  |  | --- | ---
alloy tiles BBG | Accessory | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | Not applicable: Hauck |  |  | --- | ---
TriOx | Ultra Low Nox Burner | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  |  |  | NA |  |  | --- |  | Not applicable: Hauck |  |  | --- | ---
8 Ignition and Monitoring Components |  |  | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
TZI, TGI | Ignition transformer | --- | NA | --- | --- | NA | x*6 | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | Yes | Yes*24 | Yes*23 | Yes (10) | Yes
UVS *2 | Sensor | --- | NA | x*34 | x*34 | NA | x | x | NA | x | x | NA | x | x | NA | x | x | NA | x | x | NA | --- | --- | Yes | Yes*22 | Yes*23 | Yes (10) | ---
UVC 1 | Sensor for continuous operation | --- | NA | x*34 | x*34 | NA | --- | --- | --- | x | x | --- | x | x | NA | x | x | NA | x | x | --- | x | x | Yes | Yes*22 | Yes*23 | Yes (10) | ---
9. Thermoelectric Devices
S11T | Control valve | DN15-25 |  | x*12 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | --- |  |  | --- |  | --- | Yes*22 | Yes *23 | --- | Yes
11. Accessories
KFM | Pressure gauges | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | NA |  |  | --- |  | Yes | Yes *22 | Yes *23 | --- | Yes
FLS | Orifice plate set | All |  | --- |  |  | --- |  |  | ---- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  | Not applicable: To be discontinued |  |  | --- | Yes
RFM | Pressure Gages | All |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | NA |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | Yes
GEHV | Flow adjusting cocks | DN40-50 |  | X*11 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | NA |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
GEH | Flow adjusting cocks | DN32-50 |  | X*11 |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | NA |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
DH | Manual cock | DN8-15 |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  | --- | --- | --- | --- | ---
LEH | Flow adjusting cocks | DN25-50 |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | NA |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
TAS | Thermal trip shut-off valve | DN10-25 |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  | Not applicable: To be discontinued |  |  | --- | ---
DMG | Electronic pressure gauge | All |  | X+EMC |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  | Yes | Yes | Yes | --- | Yes
DGM / DWR | Gas Pressure Switch | Atex for ex |  | X |  |  | --- |  |  | --- |  |  | --- |  |  | X |  |  | NA |  |  | --- |  | Yes | Yes | Yes | --- | ---
EKO | Stainless steel bellows units | DN32-200 |  | X*11 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
ES | Stainless steel flexible tubes | DN32-100 |  | X*11 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
GRS, GRSF | Non-return gas valves | DN15-80 |  | X*33 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  | Yes | Yes*22 | Yes*23 | --- | ---
DM, DE | Flow meters | DN25-150 |  | X*16 |  |  | --- |  |  | --- |  |  | --- |  |  | --- |  |  | NA |  |  | --- |  | --- | --- | --- | --- | Yes
|  |  | X | Existing certification | [8 empty] | *12 | GAR (Gas appliance regulation); LVD (Low voltage directive); EMC (Electromagnetic compatibility)
|  |  | --- | No certification | [8 empty] | *13 | LVD (Low voltage directive); EMC (Electromagnetic compatibility)
|  |  | NA | Not available | [8 empty] | *14 | GAR (Gas appliance regulation); LVD (Low voltage directive); EMC; Atex directive; PED
|  |  | P | Certification pending | [8 empty] | *15 | GAR (Gas appliance regulation); LVD (Low voltage directive)
|  |  | US | USA | [8 empty] | *16 | PED Certifcation (Pressure Equipment Directive); Atex directive
|  |  | CA | Canada | [8 empty] | *17 | GAR (Gas appliance regulation); PED (Pressure Equipment Directive)
|  |  | UL | UL Listed | [8 empty] | *19 | GAR (Gas appliance regulation); EMC (Electromagnetic compatibility)
|  |  | RU | UL Recognized | [8 empty] | *20 | GAR (Gas appliance regulation)
|  |  | i.A. | In process | [8 empty] | *21 | In process
|  |  | n.a. | Not applicable | [8 empty] | *22 | Not subject to the RoHS II requirements (ElektroStoffV), but the substance restrictions are adhered to.
|  |  | *1 | No type approval | [8 empty] | *23 | Not subject to the WEEE Directive (ElektroG), but the substance restrictions are adhered to.
|  |  | *2 | No single certification, certification only valid in combination with the burner control unit | [8 empty] | *24 | Solder tin is not Lead free RoHS Compliant (expemption RoHS anex III 7a)
|  |  | *3 | only UVD 1 | [8 empty] | *25 | Only .0234, .0324, .0634, .1124, .4401, .5064, until 25.11.2019
|  |  | *4 | only 1 start up | [8 empty] | *26 | Only .basic 0101/1001, .basic 0201, .basic SD1, .0201, .0321, .SG2, .SG3, until 25.11.2019
|  |  | *5 | only IFS110 | [8 empty] | *27 | Only .5064, .IO 5064, until 25.11.2019
|  |  | *6 | only TZI 7,5-20/33R | [8 empty] | *28 | Confotmity (RoHS/ WEEE) is not finial clarified.
|  |  | *7 | No external certification | [8 empty] | *29 | Contains materials of the REACH list (all customers are informed).
|  |  | *8 | NPT threaded versions | [8 empty] | *30 | Contains slight amounts of silicone <0,1%
|  |  | *9 | Ansi flanged versions | [8 empty] | *31 | Instead of 24VDC - 20VDC; 120VAC -106VDC; 230VAC-206VDC
|  |  | *10 | only Rp threaded and Din flanged versions | [8 empty] | *32 | LABS (Lackbenetzungsstörende Substanzen); PWIS (Paint-Wetting Impairment Substances)
|  |  | *11 | PED Certifcation (Pressure Equipment Directive) | [8 empty] | *33 | PED Certifcation (Pressure Equipment Directive) for sizes ≥ 32