## VC 1-3
VC Double Solenoid Valve, Size 1-3
Model Selection Guide
HT-VL-05-03 Issue 3 | [5 empty] | Rev 1
Special Features
Instructions
Select the desired Key Number. The arrow to the right marks the selections available.
Make one selection each from Tables I through III using the column below the proper arrow.
A dot ( ● ) denotes unrestricted availability. A letter denotes restricted availability.
Key Numbers |  |  |  | I
VC _ |  | - | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _
KEY NUMBER
Description | [7 empty] | Selection |  | Availability
Model |  |  | Regulator, Double Solenoid Valve,VAD+VAS |  |  |  |  | VCD |  | ↓
|  |  | Regulator, Double Solenoid Valve,VAG+VAS |  |  |  |  | VCG |  |  | ↓
|  |  | Regulator, Double Solenoid Valve,VAH+VAS |  |  |  |  | VCH |  |  |  | ↓
|  |  | Valve, Shutoff, Double, VAS+VAS |  |  |  |  | VCS |  |  |  |  | ↓
|  |  | Regulator, Double Solenoid Valve,VAV+VAS |  |  |  |  | VCV | [5 empty] | ↓
[10 empty] | VCD | VCG | VCH | VCS | VCV
Table 1
Size Standard |  |  | Size 1 Euro |  |  |  |  | 1E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Size 1 T-Product |  |  |  |  | 1T _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Size 2 Euro |  |  |  |  | 2E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Size 2 T-Product |  |  |  |  | 2T _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Size 3 Euro |  |  |  |  | 3E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Size 3 T-Product |  |  |  |  | 3T _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
Valve One |  |  | Pressure Regulator with Solenoid Valve |  |  |  |  | _ _ VAD _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ●
|  |  | Ratio Control with Solenoid Valve |  |  |  |  | _ _ VAG _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  |  | ●
|  |  | Flow Regulator with Solenoid Valve |  |  |  |  | _ _ VAH _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  |  |  | ●
|  |  | Solenoid Valve |  |  |  |  | _ _ VAS _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Variable Ratio Control with Solenoid Valve |  |  |  |  | _ _ VAV _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ | [5 empty] | ●
Size Standard One |  |  | Size 1 Euro |  |  |  |  | _ _ _ _ _ 1E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f | f | f | f | f
|  |  | Size 1 T-Product |  |  |  |  | _ _ _ _ _ 1T _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | g | g | g | g | g
|  |  | Size 2 Euro |  |  |  |  | _ _ _ _ _ 2E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | h | h | h | h | h
|  |  | Size 2 T-Product |  |  |  |  | _ _ _ _ _ 2T _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | i | i | i | i | i
|  |  | Size 3 Euro |  |  |  |  | _ _ _ _ _ 3E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | j | j | j | j | j
|  |  | Size 3 T-Product |  |  |  |  | _ _ _ _ _ 3T _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | k | k | k | k | k
Inlet |  |  | Less Inlet Flange |  |  |  |  | _ _ _ _ _ _ _ XX _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | w | w | w | ● | w
|  |  | DN10 (3/8") |  |  |  |  | _ _ _ _ _ _ _ 10 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | l | l | l | l | l
|  |  | DN15 (1/2") |  |  |  |  | _ _ _ _ _ _ _ 15 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | l | l | l | l | l
|  |  | DN20 (3/4") |  |  |  |  | _ _ _ _ _ _ _ 20 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | l | l | l | l | l
|  |  | DN25 (1") |  |  |  |  | _ _ _ _ _ _ _ 25 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | p | p | p | p | p
|  |  | DN32 (1-1/4") |  |  |  |  | _ _ _ _ _ _ _ 32 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | m | m | m | m | m
|  |  | DN40 (1-1/2") |  |  |  |  | _ _ _ _ _ _ _ 40 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | n | n | n | n | n
|  |  | DN50 (2") |  |  |  |  | _ _ _ _ _ _ _ 50 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | n | n | n | n | n
|  |  | DN65 (2-1/2") |  |  |  |  | _ _ _ _ _ _ _ 65 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | o | o | o | o | o
Connection Type |  |  | ISO Flange |  |  |  |  | _ _ _ _ _ _ _ _ _ F _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | t | t | t | t | t
|  |  | NPT Internal Thread |  |  |  |  | _ _ _ _ _ _ _ _ _ N _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | d | d | d | d | d
|  |  | Rp Internal Thread |  |  |  |  | _ _ _ _ _ _ _ _ _ R _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | e | e | e | e | e
Solenoid |  |  | 24 VDC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ LK _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | w | w | w | ● | w
|  |  | 100 VAC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ LP _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | w | w | w | w | w
|  |  | 120 VAC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ LQ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | w | w | w | w | w
|  |  | 230 VAC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ LW _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | w | w | w | w | w
|  |  | 200 VAC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ LY _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | w | w | w | w | w
|  |  | 24 VDC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ NK _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 100 VAC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ NP _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 120 VAC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ NQ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 230 VAC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ NW _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 200 VAC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ NY _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
Position Indicator |  |  | Less CPS |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ XX _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Gold POC/CPS Contacts, Flow Left |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ GL _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Gold POC/CPS Contacts, Flow Right |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ GR _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Standard POC/CPS Contacts, Flow Left |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ SL _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Standard POC/CPS Contacts, Flow Right |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ SR _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
Electrical Connection |  |  | None |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ N _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | M20 Cable Gland |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ 3 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Connected Electrical Box using Cable Gland Set |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ X _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
Outlet Pressure One |  |  | None |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ XXX _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | w | ● | ● | ● | ●
|  |  | 35 - 100 mbar |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 100 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b
|  |  | 2.5 - 25 mbar |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 025 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b
|  |  | 20 - 50 mbar |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 050 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b
Valve Seat One |  |  | None |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ X _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | w | w | w | ● | w
|  |  | Standard Valve Seat |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ A _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | z | z | z |  | z
|  |  | Reduced Valve Seat |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ B _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | a1 | a1 | a1 |  | a1
Pressure Connection Kit One |  |  | None |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ X _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | w | w | ● | w
|  |  | NPT 1/8" Adapter |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ A _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  |  | a3 | a3
|  |  | Metric Compresion Fitting |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  |  | a4 | a4
|  |  | Plastic Hose Coupling |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ K _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ | [5 empty] | b
|  |  | Zero Governor |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ N _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  |  | b
Right Inlet |  |  | Port Open - Outlet Pressure Switches |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *X _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 2-17 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *1 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 5-40 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *2 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 30-110 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *3 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 100-300 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *4 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 2-17 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *5 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 5-40 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *6 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 30-110 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *7 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 100-300 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *8 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Pressure Test Point |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *M _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Screw Plug |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *P _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
Right Outlet |  |  | Port Open/No Accessory |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ X _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b1 | b1 | b1 | b1 | b1
|  |  | 2-17 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 1 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b2 | b2 | b2 | b2 | b2
|  |  | 5-40 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 2 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b2 | b2 | b2 | b2 | b2
|  |  | 30-110 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 3 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b2 | b2 | b2 | b2 | b2
|  |  | 100-300 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 4 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b2 | b2 | b2 | b2 | b2
|  |  | 2-17 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 5 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b2 | b2 | b2 | b2 | b2
|  |  | 5-40 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 6 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b2 | b2 | b2 | b2 | b2
|  |  | 30-110 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 7 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b2 | b2 | b2 | b2 | b2
|  |  | 100-300 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 8 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b2 | b2 | b2 | b2 | b2
|  |  | Pressure Test Point |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ M _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b3 | b3 | b3 | b3 | b3
|  |  | Screw Plug |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ P _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b3 | b3 | b3 | b3 | b3
Left Inlet |  |  | Port Open - Outlet Pressure Switches |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *X _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 2-17 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *1 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 5-40 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *2 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 30-110 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *3 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 100-300 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *4 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 2-17 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *5 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 5-40 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *6 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 30-110 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *7 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | 100-300 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *8 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Pressure Test Point |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *M _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Screw Plug |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *P _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
Left Outlet |  |  | Port Open/No Accessory |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ X _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b4 | b4 | b4 | b4 | b4
|  |  | 2-17 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 1 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b5 | b5 | b5 | b5 | b5
|  |  | 5-40 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 2 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b5 | b5 | b5 | b5 | b5
|  |  | 30-110 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 3 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b5 | b5 | b5 | b5 | b5
|  |  | 100-300 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 4 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b5 | b5 | b5 | b5 | b5
|  |  | 2-17 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 5 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b5 | b5 | b5 | b5 | b5
|  |  | 5-40 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 6 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b5 | b5 | b5 | b5 | b5
|  |  | 30-110 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 7 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b5 | b5 | b5 | b5 | b5
|  |  | 100-300 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 8 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b5 | b5 | b5 | b5 | b5
|  |  | Pressure Test Point |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ M _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b6 | b6 | b6 | b6 | b6
|  |  | Screw Plug |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ P _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b6 | b6 | b6 | b6 | b6
Valve Two |  |  | Pressure Regulator with Solenoid Valve |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ VAD _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | w
|  |  | Ratio Control with Solenoid Valve |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ VAG _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  |  | w
|  |  | Flow Regulator with Solenoid Valve |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ VAH _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  |  |  | w
|  |  | Solenoid Valve |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ VAS _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | b | b | b | ● | b
|  |  | Variable Ratio Control with Solenoid Valve |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ VAV _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ | [5 empty] | w
Size Standard Two |  |  | Size 1 Euro |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 1E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f | f | f | f | f
|  |  | Size 1 T-Product |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 1T _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | g | g | g | g | g
|  |  | Size 2 Euro |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 2E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | h | h | h | h | h
|  |  | Size 2 T-Product |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 2T _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | i | i | i | i | i
|  |  | Size 3 Euro |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 3E _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | j | j | j | j | j
|  |  | Size 3 T-Product |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 3T _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | k | k | k | k | k
Outlet Two |  |  | Less Outlet Flange |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ XX _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | c | c | c | ● | c
|  |  | DN10 (3/8") |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 10 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | d1 | d1 | d1 | l | d1
|  |  | DN15 (1/2") |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 15 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | l | l | l | l | l
|  |  | DN20 (3/4") |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 20 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | l | l | l | l | l
|  |  | DN25 (1") |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 25 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | d2 | d2 | d2 | p | d2
|  |  | DN32 (1-1/4") |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 32 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | d3 | d3 | d3 | m | d3
|  |  | DN40 (1-1/2") |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 40 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | d4 | d4 | d4 | n | d4
|  |  | DN50 (2") |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 50 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | d5 | d5 | d5 | n | d5
|  |  | DN65 (2-1/2") |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 65 _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | d6 | d6 | d6 | o | d6
Connection Type Two |  |  | ISO Flange |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ F _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | e3 | e3 | e3 | e3 | e3
|  |  | NPT Internal Thread |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ N _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | d | d | d | d | d
|  |  | Rp Internal Thread |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ R _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | e | e | e | e | e
Solenoid Two |  |  | 24 VDC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ LK _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f1 | f1 | f1 | f6 | f1
|  |  | 100 VAC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ LP _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f2 | f2 | f2 | f7 | f2
|  |  | 120 VAC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ LQ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f3 | f3 | f3 | f8 | f3
|  |  | 230 VAC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ LW _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f4 | f4 | f4 | f9 | f4
|  |  | 200 VAC, Slow opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ LY _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f5 | f5 | f5 | f10 | f5
|  |  | 24 VDC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ NK _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f6 | f6 | f6 | f6 | f6
|  |  | 100 VAC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ NP _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f7 | f7 | f7 | f7 | f7
|  |  | 120 VAC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ NQ _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f8 | f8 | f8 | f8 | f8
|  |  | 230 VAC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ NW _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f9 | f9 | f9 | f9 | f9
|  |  | 200 VAC, quick opening, quick closing |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ NY _ _ _ _ _ _ _ _ _ _ _ _ _ _ |  | f10 | f10 | f10 | f10 | f10
Position Indicator Two |  |  | Less CPS |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ XX _ _ _ _ _ _ _ _ _ _ _ _ |  | g1 | g1 | g1 | g1 | g1
|  |  | Gold POC/CPS Contacts, Flow Left |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ GL _ _ _ _ _ _ _ _ _ _ _ _ |  | g2 | g2 | g2 | g2 | g2
|  |  | Gold POC/CPS Contacts, Flow Right |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ GR _ _ _ _ _ _ _ _ _ _ _ _ |  | g3 | g3 | g3 | g3 | g3
|  |  | Standard POC/CPS Contacts, Flow Left |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ SL _ _ _ _ _ _ _ _ _ _ _ _ |  | g4 | g4 | g4 | g4 | g4
|  |  | Standard POC/CPS Contacts, Flow Right |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ SR _ _ _ _ _ _ _ _ _ _ _ _ |  | g5 | g5 | g5 | g5 | g5
Electrical Connection Two |  |  | None |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ N _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | M20 Cable Gland |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 3 _ _ _ _ _ _ _ _ _ _ _ |  | ● | ● | ● | ● | ●
|  |  | Connected Electrical Box using Cable Gland Set |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ X _ _ _ _ _ _ _ _ _ _ _ |  | h1 | h1 | h1 | h1 | h1
Outlet Pressure Two |  |  | None |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ XXX _ _ _ _ _ _ _ _ |  | c | ● | ● | ● | ●
|  |  | 35 - 100 mbar |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 100 _ _ _ _ _ _ _ _ |  | h2
|  |  | 2.5 - 25 mbar |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 025 _ _ _ _ _ _ _ _ |  | h2
|  |  | 20 - 50 mbar |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 050 _ _ _ _ _ _ _ _ |  | h2
Valve Seat Two |  |  | None |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ X _ _ _ _ _ _ _ |  | c | c | c | ● | c
|  |  | Standard Valve Seat |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ A _ _ _ _ _ _ _ |  | h3 | h3 | h3 |  | h3
|  |  | Reduced Valve Seat |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ B _ _ _ _ _ _ _ |  | h4 | h4 | h4 |  | h4
Pressure Connection Kit Two |  |  | None |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ X _ _ _ _ _ _ |  | ● | c | c | ● | c
|  |  | NPT 1/8" Adapter |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ A _ _ _ _ _ _ |  |  | i1 | i1
|  |  | Metric Compresion Fitting |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ E _ _ _ _ _ _ |  |  | i2 | i2
|  |  | Plastic Hose Coupling |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ K _ _ _ _ _ _ | [5 empty] | h2
|  |  | Zero Governor |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ N _ _ _ _ _ _ |  |  | h2
Right Inlet Two |  |  | Port Open - Outlet Pressure Switches |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *X _ _ _ _ |  | j1 | j1 | j1 | j1 | j1
|  |  | 2-17 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *1 _ _ _ _ |  | j2 | j2 | j2 | j2 | j2
|  |  | 5-40 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *2 _ _ _ _ |  | j2 | j2 | j2 | j2 | j2
|  |  | 30-110 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *3 _ _ _ _ |  | j2 | j2 | j2 | j2 | j2
|  |  | 100-300 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *4 _ _ _ _ |  | j2 | j2 | j2 | j2 | j2
|  |  | 2-17 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *5 _ _ _ _ |  | j2 | j2 | j2 | j2 | j2
|  |  | 5-40 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *6 _ _ _ _ |  | j2 | j2 | j2 | j2 | j2
|  |  | 30-110 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *7 _ _ _ _ |  | j2 | j2 | j2 | j2 | j2
|  |  | 100-300 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *8 _ _ _ _ |  | j2 | j2 | j2 | j2 | j2
|  |  | Pressure Test Point |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *M _ _ _ _ |  | j1 | j1 | j1 | j1 | j1
|  |  | Screw Plug |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *P _ _ _ _ |  | ● | ● | ● | ● | ●
Right Outlet Two |  |  | Port Open/No Accessory |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ X _ _ _ |  | k1 | k1 | k1 | k1 | k1
|  |  | 2-17 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 1 _ _ _ |  | k2 | k2 | k2 | k2 | k2
|  |  | 5-40 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 2 _ _ _ |  | k2 | k2 | k2 | k2 | k2
|  |  | 30-110 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 3 _ _ _ |  | k2 | k2 | k2 | k2 | k2
|  |  | 100-300 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 4 _ _ _ |  | k2 | k2 | k2 | k2 | k2
|  |  | 2-17 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 5 _ _ _ |  | k2 | k2 | k2 | k2 | k2
|  |  | 5-40 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 6 _ _ _ |  | k2 | k2 | k2 | k2 | k2
|  |  | 30-110 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 7 _ _ _ |  | k2 | k2 | k2 | k2 | k2
|  |  | 100-300 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 8 _ _ _ |  | k2 | k2 | k2 | k2 | k2
|  |  | Pressure Test Point |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ M _ _ _ |  | k3 | k3 | k3 | k3 | k3
|  |  | Screw Plug |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ P _ _ _ |  | k3 | k3 | k3 | k3 | k3
Left Inlet Two |  |  | Port Open - Outlet Pressure Switches |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *X _ |  | l1 | l1 | l1 | l1 | l1
|  |  | 2-17 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *1 _ |  | l2 | l2 | l2 | l2 | l2
|  |  | 5-40 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *2 _ |  | l2 | l2 | l2 | l2 | l2
|  |  | 30-110 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *3 _ |  | l2 | l2 | l2 | l2 | l2
|  |  | 100-300 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *4 _ |  | l2 | l2 | l2 | l2 | l2
|  |  | 2-17 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *5 _ |  | l2 | l2 | l2 | l2 | l2
|  |  | 5-40 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *6 _ |  | l2 | l2 | l2 | l2 | l2
|  |  | 30-110 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *7 _ |  | l2 | l2 | l2 | l2 | l2
|  |  | 100-300 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *8 _ |  | l2 | l2 | l2 | l2 | l2
|  |  | Pressure Test Point |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *M _ |  | l1 | l1 | l1 | l1 | l1
|  |  | Screw Plug |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ *P _ |  | ● | ● | ● | ● | ●
Left Outlet Two |  |  | Port Open/No Accessory |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ X |  | m1 | m1 | m1 | m1 | m1
|  |  | 2-17 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 1 |  | m2 | m2 | m2 | m2 | m2
|  |  | 5-40 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 2 |  | m2 | m2 | m2 | m2 | m2
|  |  | 30-110 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 3 |  | m2 | m2 | m2 | m2 | m2
|  |  | 100-300 mbar, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 4 |  | m2 | m2 | m2 | m2 | m2
|  |  | 2-17 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 5 |  | m2 | m2 | m2 | m2 | m2
|  |  | 5-40 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 6 |  | m2 | m2 | m2 | m2 | m2
|  |  | 30-110 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 7 |  | m2 | m2 | m2 | m2 | m2
|  |  | 100-300 mbar, Gold Contacts, Gas Pressure Switch |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ 8 |  | m2 | m2 | m2 | m2 | m2
|  |  | Pressure Test Point |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ M |  | m3 | m3 | m3 | m3 | m3
|  |  | Screw Plug |  |  |  |  | _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ _ P |  | m3 | m3 | m3 | m3 | m3
How to Read the Restriction Logic Table:
Dotted lines = OR logic
Spaces within a restriction letter indicate AND logic
Example: Here you can only select something with an ‘h’ in the availability columns if:
you select option 1 in table 1.2,
OR option A in table 1.1 AND option 2 in table 1.2,
OR B, C, or D in Table 1.1 AND option 4 in table 1.2
| h | 1.2 |  |  | 1
|  | 1.1 |  |  | A
|  | 1.2 |  |  | 2
|  | 1.1 |  |  | B,C,D
|  | 1.2 |  |  | 4
RESTRICTIONS/NOTES
Restriction |  | Available Only With |  |  |  |  | Not Available With |  |  |  | AND/OR
Letter |  | Table |  |  | Selection |  | Table |  | Selection
| a | one selection from the group to be selected
| b | [5 empty] | 1.2 |  | VAS
| c | 1.16 |  |  | VAS
| d | 1.1 |  |  | 1T,2T,3T
| e | 1.1 |  |  | 1E,2E,3E
| f | 1.1 |  |  | 1E
| g | 1.1 |  |  | 1T
| h | 1.1 |  |  | 2E
| i | 1.1 |  |  | 2T
| j | 1.1 |  |  | 3E
| k | 1.1 |  |  | 3T
| l | 1.1 |  |  | 1E,1T
| m | 1.1 |  |  | 2E,2T
| n | 1.1 |  |  | 2E,2T,3E,3T
| o | 1.1 |  |  | 3E,3T
| p | 1.1 |  |  | 1E,1T,2E,2T
| t | 1.1 |  |  | 3E | [5 empty] | OR
|  | 1.4 |  |  | 50
|  | 1.1 |  |  | 2E
|  | 1.4 |  |  | 40
| w | 1.2 |  |  | VAS
| z | 1.1 |  |  | 1E,1T | [5 empty] | OR
|  | 1.2 |  |  | VAD,VAG,VAH,VAV
|  | 1.4 |  |  | 20,25
|  | 1.1 |  |  | 2E,2T,3E,3T
|  | 1.2 |  |  | VAD,VAG,VAH,VAV
| a1 | 1.1 |  |  | 1E,1T
|  | 1.2 |  |  | VAD,VAG,VAH,VAV
|  | 1.4 |  |  | 10,15
| a3 | 1.1 |  |  | 1T,2T,3T
|  | 1.2 |  |  | VAG,VAH
| a4 | 1.1 |  |  | 1E,2E,3E
|  | 1.2 |  |  | VAG,VAH
| b1 | [5 empty] | 1.12 |  | *X,*M,*P
| b2 | 1.12 |  |  | *X
| b3 | 1.12 |  |  | *P,*M
| b4 | [5 empty] | 1.14 |  | *X,*M,*P
| b5 | 1.14 |  |  | *X
| b6 | 1.14 |  |  | *P,*M
| d1 | 1.1 |  |  | 1E,1T
|  | 1.16 |  |  | VAS
| d2 | 1.1 |  |  | 1E,1T | [5 empty] | OR
|  | 1.1 |  |  | 2E,2T
|  | 1.16 |  |  | VAS
| d3 | 1.1 |  |  | 2E,2T
|  | 1.16 |  |  | VAS
| d4 | 1.1 |  |  | 2E,2T | [5 empty] | OR
|  | 1.1 |  |  | 3E,3T
|  | 1.16 |  |  | VAS
| d5 | 1.1 |  |  | 3E,3T | [5 empty] | OR
|  | 1.1 |  |  | 2E,2T
|  | 1.16 |  |  | VAS
| d6 | 1.1 |  |  | 3E,3T
|  | 1.16 |  |  | VAS
| e3 | 1.1 |  |  | 2E | [5 empty] | OR
|  | 1.18 |  |  | 40
|  | 1.1 |  |  | 3E
|  | 1.18 |  |  | 50
| f1 | 1.6 |  |  | NK,LK
|  | 1.16 |  |  | VAS
| f2 | 1.6 |  |  | NP,LP
|  | 1.16 |  |  | VAS
| f3 | 1.6 |  |  | NQ,LQ
|  | 1.16 |  |  | VAS
| f4 | 1.6 |  |  | NW,LW
|  | 1.16 |  |  | VAS
| f5 | 1.6 |  |  | NY,LY
|  | 1.16 |  |  | VAS
| f6 | 1.6 |  |  | NK,LK
| f7 | 1.6 |  |  | NP,LP
| f8 | 1.6 |  |  | NQ,LQ
| f9 | 1.6 |  |  | NW,LW
| f10 | 1.6 |  |  | NY,LY
| g1 | 1.7 |  |  | XX
| g2 | 1.7 |  |  | GL
| g3 | 1.7 |  |  | GR
| g4 | 1.7 |  |  | SL
| g5 | 1.7 |  |  | SR
| h1 | 1.8 |  |  | N,3
| h2 | [5 empty] | 1.16 |  | VAS
| h3 | 1.1 |  |  | 1E,1T
|  | 1.16 |  |  | VAD,VAG,VAH,VAV
|  | 1.18 |  |  | 20,25
|  | 1.1 |  |  | 2E,2T,3E,3T
|  | 1.16 |  |  | VAD,VAG,VAH,VAV
| h4 | 1.1 |  |  | 1E,1T
|  | 1.16 |  |  | VAD,VAG,VAH,VAV
|  | 1.18 |  |  | 15
| i1 | 1.1 |  |  | 1T,2T,3T
|  | 1.16 |  |  | VAG,VAH
| i2 | 1.1 |  |  | 1E,2E,3E
|  | 1.16 |  |  | VAG,VAH
| j1 | 1.13 |  |  | X,M,P
| j2 | 1.13 |  |  | P
| k1 | [5 empty] | 1.26 |  | *X,*M,*P
| k2 | 1.26 |  |  | *X
| k3 | 1.26 |  |  | *M,*P
| l1 | 1.15 |  |  | X,M,P
| l2 | 1.15 |  |  | P
| m1 | [5 empty] | 1.28 |  | *X,*M,*P
| m2 | 1.28 |  |  | *X
| m3 | 1.28 |  |  | *M,*P