## 2021_07 Version
Worldwide Certification List Edition 2021.07
[30 empty] | WEE |  | China RoHS
1907/2006
| Remark | Size / Remark | [5 empty] | US |  | CA |  |  |  | US | [13 empty] | (ElektroStoffV) |  |  |  |  | Free of: LABS PWIS *32 | 100% H2 Vol%*39 | 50% H2 Vol%*39 | 30% H2 Vol%*39 | 10% H2 Vol%
[27 empty] | Conformity | Conformity | Category | Conformity | Category
1. Gas Filters & Ball Valves | [5 empty] | Expiry date | [13 empty] | Expiry date
AKT | Manual valves | DN6-250 |  | X*17 |  | 04.2028 | pending 01.01.2022 |  | DN10-50*8 |  |  | --- |  |  | DN10-50*8 |  | X |  |  | 2024-03-16 |  | --- |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
TAS | Thermal equipment trips | DN6-250 |  | X*17 |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2019-11-13 |  | --- |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | Yes | Yes | Yes | Yes
GFK | Gas filter | DN15-250 |  | X*17 |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2024-03-16 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes *30 | Yes | Yes | Yes | Yes
2. Pressure Regulators | [5 empty] | Expiry date | [13 empty] | Expiry date
J78R | Pressure regulator for gas | DN15 | X*10; X*20 |  |  | 04.2028 | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | --- | Yes *22 | n.a. | --- | n.a. | n.a. | --- | Yes | Yes | Yes | Yes
GDJ | Pressure regulator for gas | DN15-50 | X*10; X*20 |  |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
VGBF | Pressure regulator for gas | DN15-150 | X*10; X*20; X*17 |  |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
JSAV | Safety shutt-off valves | DN25-100 | X*10; X*20; X*17 |  |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2024-07-23 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | X *21 | Yes | Yes | Yes | Yes
VSBV | Safet relief valve | DN25 | X*10; X*20; X*17 |  |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2024-07-23 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
VAR | Circulation pressure control | DN25-100 | --- |  |  | --- | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | Yes | Yes | Yes | Yes
GIK, GIK..B | Air/Gas Ratio control | DN15-150 | X*10; X*20 |  |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
GIKH | Variable air/gas ratio control | DN25 | X*10; X*20 |  |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | Yes | Yes | Yes | Yes
J78R 1-L | Pressure regulator for air | DN15 | --- |  |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | Not applicable: Jeavons |  |  |  |  | n.a. | --- | n.a. | n.a. | n.a. | n.a.
GDJ L | Pressure regulator for air | DN15-50 | --- |  |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | n.a. | n.a. | n.a. | n.a.
VGBF V | Gas pressure regulator "Viton Version" | DN40-150 | --- |  |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | Yes | Yes | Yes | Yes | Yes
GIK..L, GIKB..L | Ratio control for air | DN15-150 | --- |  |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | n.a. | --- | n.a. | n.a. | n.a. | n.a.
3. Valves & Butterfly valves |  |  | 24Vdc | 120Vac | 230Vac | Expiry date |  | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
VAS 1 … 3 | Solenoid gas valve | 1-3 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | 2024-03-16 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VAS 6 … 9 | Solenoid gas valve | 6-9 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | X | X | X | X | X | X | --- | X*9 | --- | X | X | X | 2024-03-16 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VCS 1 … 3 | Double solenoid gas valve | 1-3 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | 2024-03-16 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VCS 6 … 9 | Double solenoid gas valve | 6-9 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | X | X | X | X | X | X | --- | --- | --- | X | X | X | 2024-03-16 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VAD 1 … 3 | ValVario-D-Regulator | 1-3 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | 2023-12-26 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VAG 1 … 3 | ValVario-G-Regulator | 1-3 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | X | X | X | X | X | X | --- | X*8 | --- | X | X | X | 2023-12-26 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VAH 1 … 3 | ValVario-H-Regulator | 1-3 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | X | X | X | --- | --- | --- | X | X | X | 2023-12-26 | --- | --- | --- | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VRH 1 … 3 | ValVario-H-Regulator w/o ssov | 1-3 | X*20 |  |  | 04.2028 | pending 01.01.2022 | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | --- |  |  | --- |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | Yes | Yes | Yes | Yes | Yes
VAV 1 … 3 | ValVario-V-Regulator | 1-3 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | X | X | X | --- | X*8 | --- | X | X | X | 2023-12-26 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VBY | Bypass valve | DN8 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | X | X | X | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VMV | ValVario fine adjusting valve | DN10-50 |  | X*20 |  | 04.2028 | pending 01.01.2022 | --- |  |  | --- |  |  | --- |  |  | X |  |  | 2023-12-26 | --- |  |  | --- |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | Yes | Yes | Yes | Yes | Yes
VMO | ValVario orifice | DN10-50 |  | X*20 |  | 04.2028 | pending 01.01.2022 | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | --- |  |  | --- |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | Yes | Yes | Yes | Yes | Yes
VMF | ValVario filter | DN10-50 | X*20 |  |  | 04.2028 | pending 01.01.2022 | --- |  |  | --- |  |  | --- |  |  | --- |  |  | --- | --- |  |  | --- |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | Yes | Yes | Yes | Yes | Yes
VGP | Solenoid gas valve | DN10-25 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | --- | X | X | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VG small | Solenoid gas valve | DN6-15/10 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | X | X | X | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VG | Solenoid gas valve | DN10/15-65 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | X | X | X | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
VAN | Solenoid normally open valve | 1-2 | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-03-16 | X | X | X | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VK | Motorized gas valve | DN40-250 | --- | 110V X*14 | 220V X*14 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 110V | 220V | 2024-03-16 | -- | 110V | 220V | --- | --- | --- | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
TC 1 | Tightness Control | --- | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | -- | -- | -- | -- | -- | -- | -- | -- | -- | X | X | X | 2023-01-24 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | No | No | No | No
TC 2 | Tightness Control | --- | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | -- | -- | -- | -- | -- | -- | -- | -- | -- | X | X | X | 2023-01-24 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | No | No | No | No
TC 3 | Tightness Control | --- | X*19 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | -- | -- | -- | -- | -- | -- | -- | -- | -- | X | X | X | 2023-01-24 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | No | No | No | No
TC 410 | Tightness Control | All | --- | --- | --- | --- | --- | -- | -- | -- | X | X | X | -- | X | -- | X | X | X | 2023-01-24 | -- | -- | -- | -- | -- | -- | Yes | Yes | 9 | Yes | 5 - B2B | --- | Yes | not applicable
BVG, BVGF | Butterfly valve for gas | DN40-150 | X*20 |  |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | --- |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | Yes | Yes | Yes | Yes | Yes
BVA, BVAF | Butterfly valve for air | DN40-150 | X |  |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2023-12-26 |  | --- |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | Yes | n.a. | n.a. | n.a. | n.a.
BVH, BVHS, BVHR | Butterfly valve for hot air | DN40-100 |  | --- |  | --- | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  | X |  |  | 2024-07-29 |  | --- |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | Yes | n.a. | n.a. | n.a. | n.a.
IC20 | Actuator | --- | --- | X*13 | X*13 | 04.2028 | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | --- | X | X | 2023-12-26 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
IC30 | Actuator | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | --- | --- | 2025-06-25 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
IC40 | Actuator | --- | --- | X*13 | X*13 | 04.2028 | --- | --- | X | X | --- | --- | --- | --- | X | --- | --- | X | X | 2023-12-26 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
IC50 | Actuator | --- | X(AC)*13 | X*13 | X*13 | 04.2028 | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | X(AC) | X | X | 2025-06-25 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
MB7 | Solenoid actuator for BVHM | --- | --- | --- | --- | --- | pending 01.01.2022 | --- | X | --- | --- | --- | -- | --- | --- | --- | X | X | X | 2023-12-26 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
BVHM | Butterfly valve for MB 7 | DN40-100 | --- | --- | --- | --- | pending 01.01.2022 | --- | --- | --- | --- | --- | -- | --- | --- | --- | X | X | X | 2023-12-26 | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
DKR | Butterfly valve for hot air | DN15-500 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X |  |  | 2024-07-29 | --- | --- | --- | --- | --- | --- | Yes | Yes *22 | n.a. | Yes *23 | n.a. | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
VFC | Flow control | 1 - 3 | X |  |  | 04.2028 | pending 01.01.2022 | --- |  |  | --- |  |  | --- |  |  | X |  |  | 2023-12-26 | --- |  |  | --- |  |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
VAA | Solenoid valves for air | DN20-65 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
VE4000 | Single solenoid gas valve |  | --- | X*12 | X | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | No | No | No | No
V4295/V8295 | Single solenoid gas valve |  | --- | --- | --- | --- | --- | X | X | --- | --- | --- | --- | --- | --- | --- | - | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | No | No | No | No
VQ400 | Double solenoid gas valve |  | --- | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | No | No | No | No
VR4xx | Regulated combination gas valve |  | X*12 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
VR4xx + VMU (air/gas ratio) | Regulated combination gas valve |  | X*12 | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | No | No | No | No
VRBseries | Regulated combination gas valve |  | --- | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
V4730 | Regulated combination gas valve |  | --- | --- | --- | --- | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ----- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
V4730 + VMU (air/gas ratio) | Regulated combination gas valve |  | --- | --- | --- | --- | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | No | No | No | No
V8730 | Regulated combination gas valve |  | --- | --- | --- | --- | --- | 24VAC | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
V8730 + VMU (air/gas ratio) | Regulated combination gas valve |  | --- | --- | --- | --- | --- | 24VAC | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | No | No | No | No
V2V | Double solenoid gas valve + air/gas ratio | DN20-50 | --- | X*12 | X*12 | 04.2028 | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (20) | --- | No | No | No | No
V2F | Double solenoid gas valve | DN20-50 | --- | X*12 | X*12 | 04.2028 | --- | --- | X | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (20) | --- | No | No | No | No
4. Pressure Switches |  |  | 24Vdc | 120Vac | 250Vac | Expiry date |  | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 250Vac | Expiry date | 24Vdc | 120Vac | 250Vac | 24Vdc | 120Vac | 250Vac
DG..U,B,I,H,N | Pressure switches for gas/air | not all AGA | X*15 | X*15 | X*15 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
DG..T,NT,HT | Pressure switches for gas/air | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X*34 | X*34 | X*34 | X | X | X | 2024-11-13 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
DG..C,VC | Pressure switches for gas/air | not all AGA | X*15 | X*15 | X*15 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | X | X | X | X | X | X | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
DG..CT,VCT | Pressure switches for gas/air | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | UL/RU*34 | UL/RU*34 | UL/RU*34 | X | X | X | 2024-11-13 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
DL..A,K,E | Pressure switches for air | not all AGA | X*15 | X*15 | X*15 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | X | X | X | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
DL..ET | Pressure switches for air | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | RU*34 | RU*34 | RU*34 | X | X | X | 2024-11-13 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
DL..AT,KT | Pressure switches for air | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X | X | X | X | X | X | 2024-11-13 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | n.a. | n.a. | n.a. | n.a.
DG..S | Pressure switches for oxygen | O2 + NH3 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
CPS | Pressure switches for air | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | n.a. | n.a. | n.a. | n.a.
C6097A(B)4.. | Pressure switches for gas/air | --- | X*15 | X*15 | X*15 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
C6097A(B)3.. | Pressure switches for gas/air | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | X*34 | X*34 | X*34 | X | X | X | 2024-11-13 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
C60VR… | Pressure switches for gas/air | --- | X*15 | X*15 | X*15 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2024-11-13 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
C60VRT… | Pressure switches for gas/air | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | RU*34 | RU*34 | RU*34 | X | X | X | 2024-11-13 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | Yes | Yes | Yes | Yes | Yes
5. Moduline |  |  | 24Vdc | 120Vac | 230Vac | Expiry date |  | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
RV | Control valves | DN32-100 | --- | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2023-12-26 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
RVS, RV | Control valves | DN32-100 | --- | X*12 | X*12 | 04.2028 | pending 01.01.2022 | --- | --- | --- | --- | --- | --- | --- | --- | --- | X | X | X | 2023-12-26 | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | No | No | No | No
6. Electric Flame Monitoring & Contr. Units |  |  | 24Vdc | 120Vac | 230Vac | Expiry date |  | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
FCU 500 (OCU/BCM/BCC)*2 | Protective system control units | --- | NA | x*12 | x*12 | 04.2028 | pending 01.01.2022 | NA | x | x | NA | x | x | NA | P | --- | NA | x | x | 2023-01-24 | NA | --- | --- | NA | x | x | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
BCU 400 | Burner control unit | --- | NA | x*12 | x*12 | 04.2029 | pending 01.01.2022 | NA | x*4 | x*4 | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | 2023-01-24 | NA | P | P | NA | x | x | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
BCU 560 / 565 /580 | Burner control unit | --- | NA | x*12 | x*12 | 04.2028 | pending 01.01.2022 | NA | x*4 | x*4 | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | 2023-01-24 | NA | x | x | NA | x | x | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
IFD 244 / 258 | Automatic burner control unit | --- | NA | x*12 | x*12 | 04.2028 | pending 01.01.2022 | NA | x | x | NA | x | x | NA | --- | --- | NA | x | x | 2023-01-24 | NA | x | x | NA | --- | --- | Yes | Yes *22 | 9 | Yes *23 | 5 - B2B | Yes (10) | --- | not applicable
PFU 760 / 780 | Burner control unit | --- | NA | x*12 | x*12 | 04.2028 | pending 01.01.2022 | NA | --- | --- | NA | x*4 | x*4 | NA | --- | --- | NA | x | x | 2023-01-24 | NA | x | x | NA | x | x | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
PFR 704 | Relay module | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
PFP 700 | Power supply | --- | --- | --- | --- | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | --- | NA | --- | --- | NA | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
PFA 700 / 710 | Fieldbus interface | --- | NA | X*7 | X*7 | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | --- | NA | --- | --- | NA | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
MPT 700 | Impulse system | --- | --- | --- | --- | --- | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | NA | x | x | 2023-01-24 | NA | --- | --- | NA | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
BCU 370 | Burner control unit | --- | NA | x*12 | x*12 | 04.2028 | pending 01.01.2022 | NA | x | x | NA | x | x | NA | UL | --- | NA | x | x | 2023-01-24 | NA | x | x | --- | --- | --- | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
BCU 570 (OCU/BCM/BCC)*2 | Burner control unit | --- | NA | x*12 | x*12 | 04.2028 | pending 01.01.2022 | NA | x | x | NA | x | x | NA | RU | --- | NA | x | x | 2023-01-24 | NA | x | x | NA | x | x | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | not applicable
7. Burners | [5 empty] | Expiry date | [13 empty] | Expiry date | [12 empty] | ---
BIO, BIC, BIOW, BICW | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 |  | NA |  |  | --- |  | Yes*29 | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
BIOA, BICA | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ZIO, ZIC, ZIOW, ZICW | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
BIO(W), BIC(W) | With ignition burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 |  | NA |  |  | --- |  | Yes*29 | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ZIO(W), ZIC(W) | With ignition burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 |  | NA |  |  | --- |  | Yes*29 | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
BIC…MB | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (20) | --- | NC*37 | Pos*35 | Pos*35 | Rea*36
BICR | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/24/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 4 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
GLG, GLA, GLH | Haubenbrenner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/29/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 4 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ECOMAX | Self recuperator burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 7/29/2024 |  | NA |  |  | --- |  | Yes*29 | Yes | 9 | Yes | 4 - B2B | Yes (20) | --- | Pos*35 | Rea*36 | Rea*36 | Rea*36
ThermJet | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | CAP*38 | Rea*36 | Rea*36 | Rea*36
Kinemax | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
Beta | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
NMC | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
Wide Range | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*36 | Pos*37 | Rea*36 | Rea*36
TriOx | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
Furnnox | Burner | All |  |  |  |  | --- | [26 empty] | NC*37 | NC*37 | NC*37 | NC*37
WHG/RKG | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
WHI | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
Uni-Rad-Vilvoorde | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | CAP*38 | Rea*36 | Rea*36 | Rea*36
TFB | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
SER | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
TJSR | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
ExtensoHeat | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
PrimeFire FH (Next Gen) | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
OxyTherm 300 | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
OxyTherm LE | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
PrimeFire 100 | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
OxyTherm FHR | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
PrimeFire 300 | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
PrimeFire 400 | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
04V | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
BrightFire 200 | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
WGD | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
WTPU/WTPUG | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
OxyTherm Titan | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Rea*36 | Rea*36 | Rea*36 | Rea*36
NP-RG | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | CAP*38 | CAP*38 | CAP*38
NP-LE | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
AHMA | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
LV Airflo | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | CAP*38 | CAP*38 | CAP*38 | CAP*38
Combustifume | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | CAP*38 | CAP*38 | CAP*38
FlueFire | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
HC Airflo | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | cap*38 | Rea*36 | Rea*36 | Rea*36
Linoflame | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
AHv1 | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
AHv2 | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/15/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
AHMA-DB | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
APX | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
CrossFire | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
Linnox | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*38 | NC*37 | NC*37 | NC*37
Minnox | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*39 | NC*37 | NC*37 | NC*37
RatioStar | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | CAP*38 | CAP*38 | CAP*38 | CAP*38
RadMax | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*38 | Pos*35 | Pos*35
Infrawave | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
OvenPak 400 | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | CAP*38 | CAP*38
OvenPak 500 | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Rea*36 | Rea*36
RatioMatic | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*38 | NC*38 | Pos*35 | Pos*35
RatioAir | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
ThermAir | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
ValuPak II | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | CAP*38 | CAP*38
UnoPak | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | --- |  |  | --- |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*36 | CAP*38 | CAP*38
MegaFire HD | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | CAP*38 | CAP*38
Vortometric | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
OvenPak LE | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
Winnox | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*39 | NC*37 | NC*37 | NC*37
M-Pakt | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*38 | Pos*35 | Pos*35
Optima | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*38 | Pos*35 | Pos*35
Incinicone | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | Pos*35 | Pos*35
Kinedizer LE | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/24/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | Pos*35
Tube-O-Flame | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
ImmersoJet | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*38 | NC*38 | Pos*35 | Pos*35
Tube-O-Therm | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
XPO | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | NC*37 | NC*37 | NC*37 | NC*37
StarJet | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
MegaStar | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
NovaStar | Burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 8/13/2024 |  | NA |  |  | --- |  | --- | Yes | Excluded | --- | --- | Yes (10) | --- | Pos*35 | Pos*35 | Pos*35 | Pos*35
8. Ignition and Monitoring Components |  |  | 24Vdc | 120Vac | 230Vac | Expiry date |  | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac | Expiry date | 24Vdc | 120Vac | 230Vac | 24Vdc | 120Vac | 230Vac
TZI, TGI | Ignition transformer | --- | NA | --- | --- | --- | --- | NA | x*6 | --- | NA | --- | --- | NA | --- | --- | NA | --- | --- | --- | NA | --- | --- | NA | --- | --- | Yes | Yes*24 | 9 | Yes | 5 - B2B | Yes (10) | Yes | not applicable
UVS *2 | Sensor | --- | NA | x*12 | x*12 | 04.2028 | --- | NA | x | x | NA | x | x | NA | x | x | NA | x | x | 2023-01-24 | NA | x | x | NA | --- | --- | Yes | Yes*22 | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
UVC 1 | Sensor for continuous operation | --- | NA | x*12 | x*12 | 04.2028 | pending 01.01.2022 | NA | --- | --- | --- | x | x | --- | RU | RU | NA | --- | --- | 2023-01-24 | NA | x | x | --- | x | x | Yes | Yes*22 | 9 | Yes | 5 - B2B | Yes (10) | --- | Yes | Yes | Yes | Yes
9. Pilot burners and thermoelectric Devices | [5 empty] | Expiry date | [13 empty] | Expiry date
ZAI | Pilot burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | NC*37 | Pos*35 | Pos*35 | Pos*35
ZMI (C) | Pilot burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | NC*37 | Pos*35 | Pos*35 | Pos*35
ZKIH | Pilot burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | NC*37 | Pos*35 | Pos*35 | Pos*35
ZIO 40 | Pilot burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | NC*37 | Pos*35 | Pos*35 | Pos*35
ZT 40 | Pilot burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 4 - B2B / 5 - B2B | Yes (10) | --- | NC*37 | Pos*35 | Pos*35 | Pos*35
ZTA | Pilot burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | NC*37 | Pos*35 | Pos*35 | Pos*35
ZTI | Pilot burner | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  | X |  |  | 7/29/2024 |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 5 - B2B | Yes (10) | --- | NC*37 | Pos*35 | Pos*35 | Pos*35
S11T | Control valve | DN15-25 |  | x*12 |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-07-23 |  | --- |  |  | --- |  | --- | Yes*22 | 9 | Yes | 5 - B2B | --- | Yes | Yes | Yes | Yes | Yes
11. Accessories | [5 empty] | Expiry date | [13 empty] | Expiry date
KFM | Pressure gauges | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  | NA |  |  | --- |  | Yes | Yes *22 | n.a. | Yes *23 | n.a. | --- | Yes | Yes | Yes | Yes | Yes
FLS | Orifice plate set | All |  | --- |  | --- |  |  | --- |  |  | ---- |  |  | --- |  |  | X |  | phase out |  | NA |  |  | --- |  | Not applicable: To be discontinued |  |  |  |  | --- | Yes | No | No | No | No
RFM | Pressure Gages | All |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  | NA |  |  | --- |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | Yes | Yes | Yes | Yes | Yes
GEHV | Flow adjusting cocks | DN40-50 |  | X*11 |  | 04.2028 | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2023-12-26 |  | NA |  |  | --- |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
GEH | Flow adjusting cocks | DN32-50 |  | X*11 |  | 04.2028 | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-11-13 |  | NA |  |  | --- |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
DH | Manual cock | DN8-15 |  | X |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-11-13 |  | NA |  |  | --- |  | --- | --- | n.a. | --- | n.a. | --- | Yes | Yes | Yes | Yes | Yes
LEH | Flow adjusting cocks | DN25-50 |  | --- |  | --- | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-07-23 |  | NA |  |  | --- |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | n.a. | n.a. | n.a. | n.a.
DMG | Electronic pressure gauge | All |  | X+EMC |  | 04.2028 | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 5 - B2B | --- | Yes | Yes | Yes | Yes | Yes
DGM / DWR | Gas Pressure Switch | Atex for ex |  | X |  | 04.2028 | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | --- |  | NA |  |  | --- |  | Yes | Yes | 9 | Yes | 5 - B2B | --- | --- | Yes | Yes | Yes | Yes
EKO | Stainless steel bellows units | DN32-200 |  | X*11 |  | 04.2028 | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | P |  | NA |  |  | --- |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
ES | Stainless steel flexible tubes | DN32-100 |  | X*11 |  | 04.2028 | --- |  | --- |  |  | --- |  |  | --- |  |  | --- |  | P |  | NA |  |  | --- |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
GRS, GRSF | Non-return gas valves | DN15-80 |  | X*33 |  | 04.2028 | --- |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-07-23 |  | NA |  |  | --- |  | Yes | Yes*22 | n.a. | Yes*23 | n.a. | --- | --- | Yes | Yes | Yes | Yes
DM, DE | Flow meters | DN25-150 |  | X*16 |  | 04.2028 | pending 01.01.2022 |  | --- |  |  | --- |  |  | --- |  |  | X |  | 2024-07-23 |  | NA |  |  | --- |  | --- | --- | 9 | --- | 5 - B2B | --- | Yes | No | No | 20% | Yes

## Legend
X | Existing certification | *17 | GAD (Gas appliance directive); PED (Pressure Equipment Directive)
--- | No certification | *19 | GAD (Gas appliance directive); EMC (Electromagnetic compatibility)
NA | Not applicable | *20 | GAD (Gas appliance directive)
P | Certification pending | *21 | In process
US | USA | *22 | Not subject to the RoHS III requirements (ElektroStoffV), but the substance restrictions are adhered to.
CA | Canada | *23 | Not subject to the WEEE Directive (ElektroG), but the substance restrictions are adhered to.
UL | UL Listed | *24 | Solder tin is not Lead free RoHS Compliant (expemption RoHS anex III 7a)
RU | UL Recognized | *25 | Only .0234, .0324, .0634, .1124, .4401, .5064, until 25.11.2019
i.A. | In process | *26 | Only .basic 0101/1001, .basic 0201, .basic SD1, .0201, .0321, .SG2, .SG3, until 25.11.2019
n.a. | Not applicable | *27 | Only .5064, .IO 5064, until 25.11.2019
*1 | No type approval | *28 | Confotmity (RoHS/ WEEE) is not finial clarified.
*2 | No single certification, certification only valid in combination with the burner control unit | *29 | Contains materials of the REACH list (all customers are informed).
*3 | only UVD 1 | *30 | Contains slight amounts of silicone <0,1%
*4 | only 1 start up | *31 | Instead of 24VDC - 20VDC; 120VAC -106VDC; 230VAC-206VDC
*5 | only IFS110 | *32 | LABS (Lackbenetzungsstörende Substanzen); PWIS (Paint-Wetting Impairment Substances)
*6 | only TZI 7,5-20/33R | *33 | PED Certifcation (Pressure Equipment Directive) for sizes ≥ 32
*7 | No external certification | *34 | UL/RU approval also for the Canadian market C-UL
*8 | NPT threaded versions | *35 | Possible: | May be possible of firing a % of Hydrogen with burner modification upon application review with testing.
*9 | Ansi flanged versions | *36 | Ready: | Capable of firing a % Hydrogen with no modification.
*10 | only Rp threaded and Din flanged versions | *37 | Not Capable: | No capable
*11 | PED Certifcation (Pressure Equipment Directive) | *38 | Capable: | Able to fire a % of Hydrogen with slight modification with application review
*12 | GAD (Gas appliance directive); LVD (Low voltage directive); EMC (Electromagnetic compatibility) | *39 | The leakage rates according to EN 13611:2019 are complied with if the H2 admixture is less than 10%. In an application with 100% H2 or an admixture of H2 greater than 10%, compliance with leakage rates according to EN 13611:2019 cannot be guaranteed due to the lower density and the changed dynamic viscosity of hydrogen. The suitability of the application for operation with natural gas-hydrogen mixtures with a content ≥ 10% hydrogen has to be determined with a risk assessment.
*13 | LVD (Low voltage directive); EMC (Electromagnetic compatibility)
*14 | GAD (Gas appliance directive); LVD (Low voltage directive); EMC; Atex directive; PED
*15 | GAD (Gas appliance directive); LVD (Low voltage directive)
*16 | PED Certifcation (Pressure Equipment Directive); Atex directive | *40